## Slide 1: Fundamental symmetries using nuclear decay at the CI: current and future efforts Dan Melconian
and FRIB…?

## Slide 2: Overview
Bird’s eye view of the Cyclotron Institute
Lifetimes and branching ratios with the K500 and MARS ( SATURN)
  Fast-tape transport system and “golden” HPGe detector
  Lifetime example: 29P
  Branching ratio example: 37K
Near future
  10C branching ratio
  He-LIG and LSTAR separator
  -delayed proton decays in TAMUTRAP

## Slide 3: A primer on decay and fundamental physics
Expand to the often-quoted angular distribution of the decay (Jackson, Treiman and Wyld, Phys Rev 106 and Nucl Phys 4, 1957)
Comparative half-life:
and

## Slide 4: The Cyclotron Institute
not a user facility

## Slide 5: Overview
Bird’s eye view of the Cyclotron Institute
Re-accelerated RIB with the p-LIG
Lifetimes and branching ratios with the K500 and MARS ( SATURN)
  Fast-tape transport system and “golden” HPGe detector
  Lifetime example: 29P
  Branching ratio example: 37K
Near future
  10C branching ratio
  He-LIG and LSTAR separator
  -delayed proton decays in TAMUTRAP

## Slide 6: MARS: a heavily utilized spectrometer
Follows a LN2-cooled H2 target for inverse kinematic reactions.
Very pure beams!

## Slide 7: Fast-tape transport system (Hardy and Iacob)
Fundamental symmetries: fast-tape transport system + HPGe or gas counter
Lifetimes and branching ratios ()

## Slide 8: Fast-tape transport system (Hardy and Iacob)
Fundamental symmetries: fast-tape transport system + HPGe or gas counter
Lifetimes and branching ratios ()

## Slide 9: Lifetime example: 29P
Degraders let us tune where activity is implanted in the tape and further purify the beam out of MARS
tension with 2020 result of Long et al.:
(let’s talk Maxime!)

## Slide 10: Fast-tape transport system (Hardy and Iacob)
Fundamental symmetries: fast-tape transport system + HPGe or gas counter
Lifetimes and branching ratios ()
Absolute efficiency
±0.2%

## Slide 11: Branching ratio example: 37K
d

## Slide 12: Branching ratio example: 37K
BR: 97.99(14)% 97.81(2)%
: 4576(8) s 4585(4) s
: stay tuned

## Slide 13: Overview
Bird’s eye view of the Cyclotron Institute
Re-accelerated RIB with the p-LIG
Lifetimes and branching ratios with the K500 and MARS ( SATURN)
  Fast-tape transport system and “golden” HPGe detector
  Lifetime example: 29P
  Branching ratio example: 37K
Near future
  10C branching ratio
  He-LIG and LSTAR separator
  -delayed proton decays in TAMUTRAP

## Slide 14: Another branching ratio – 10C
One of if not the most important decays to be improved

## Slide 15: Another branching ratio – 10C
One of if not the most important decays to be improved
Sometime, nature can be cruel…

## Slide 16: Victor’s idea
If you can know how many 511+511s are in your peak, you can still make a precision measurement
Model summing with HPGe response
  Normalize to times prior to coincidence window
  Subtract random summing from true 1022-keV peak
pulse height
time diff
time diff []
pulse height

## Slide 17: Victor’s idea
If you can know how many 511+511s are in your peak, you can still make a precision measurement
Model summing with HPGe response
  Normalize to times prior to coincidence window
  Subtract random summing from true 1022-keV peak
Tested with 68Ge/Ga
pulse height
time diff

## Slide 18: We got 2 weeks of beamtime and some good data!
Better than expected, really

## Slide 19: Recent 10C – first test run (more data this fall)
Pile-up is a concern, but at 3 kHz in the HPGe correction is <0.2%
  Can test this by making different cuts on the time in the cycle as the intensity drops
Dominant systematic will be the HPGe efficiency; expect 0.1% uncertainty
In 2 weeks of actual beamtime, we got 4 full days of counting. Ended up with counts in the 1022 peak with a statistical uncertainty of 0.3%
  Analysis no show-stoppers
  Two 2-week beamtimes now and this fall
  Expect to get statistical uncertainty under 0.1%, about 0.15% overall?
Best: Average:

## Slide 20: Eventually we will trap radioactive ions at the CI!
Motivation: (corrections) and structure near the proton dripline
vector (SM)
scalar (BSM)
Doppler shape of proton energy depends on !

## Slide 21: TAMUTRAP: a “new” Penning trap
180 mm in diameter with endcaps
Find resonant frequencies for 23Na, 85,87Rb, 133Cs and 39K (ref). Precisions obtained (2020):
    23Na: 400 ppb
    85Rb: 500 ppb
    87Rb: 500 ppb
    133Cs: 800 ppb
39K+
133Cs +
TOF ICR, 200 ms excitation time
P.Shidling et al., Hyperfine Interact. 240, 40 (2019)
P.Shidling et al., Int. J. Mass Spectr. 468, 116636 (2021)
All agree with AME

## Slide 22: 3He-LIG and LSTAR for TAMUTRAP
Primarily for - correlation studies using -delayed proton decays in a Penning trap
p/He-LIG chamber ready to be installed, inside parts about to be ordered
Target | Product | Production rate
20Ne | 20Mg 21Mg | 
24Mg | 24Si 25Si | 
28Si | 28S 29S | 
32S | 32Ar 33Ar | 
36Ar | 36Ca 37Ca | 
Target | Product | Production rate
20Ne | 20Mg 21Mg | 
24Mg | 24Si 25Si | 
28Si | 28S 29S | 
32S | 32Ar 33Ar | 
36Ar | 36Ca 37Ca | 

## Slide 23: LSTAR: purify and transport up to TAMUTRAP
In collaboration with Notre Dame (Berg, Couder, Brodeur), design based on separator at CARIBU.
GPA Berg, D Melconian, M Couder, M Brodeur, VE Iacob, J Klimo, PD Shidling, NIMA 1069, 169944 (2024)

## Slide 24: LSTAR: purify and transport up to TAMUTRAP
GPA Berg, D Melconian, M Couder, M Brodeur, VE Iacob, J Klimo, PD Shidling, NIMA 1069, 169944 (2024)
In collaboration with Notre Dame (Berg, Couder, Brodeur), design based on separator at CARIBU.

## Slide 25: 6He-CRES 6He CRES
Wall effect may be our limiting systematic
If we can confine the decays to occur just in the centre, we remove this source of uncertainty!
Can we upgrade to use a Penning trap…?

## Slide 26: Need large bunch sizes

## Slide 27: Need large bunch sizes

## Slide 28: GOLIATH seems to work for heavier masses
Hot off the presses, get’s per bunch, more possible with a “simple” re-alignment

## Slide 29: MARS: a heavily utilized spectrometer
Follows a LN2-cooled H2 target for inverse kinematic reactions.
Very pure beams!
SATURN is on the horizon
Limitations:
Rigidity (<2 Tm)
Acceptance
No room for instrumentation
Aging components

## Slide 30: SATURN concept
Separator and Analyzer at TAMU for Understanding Reactions of Nuclei
Unique opportunity:
  CI Building extension for radiation effects
  “Energy gap” with current facilities in the US (15-50 MeV/u)
Features:
  3.5 Tm rigidity
  Large acceptance
  Room for Phase II and instru- mentation
  RIBs intensities 10x – 100x more than MARS

## Slide 31: Why would I care about SATURN?
Mirror transitions
  Good (best?) way to check the model dependence
34Ar 34Cl 34S
38Ca
38mK 38Ar
26Si
26mAl 26Mg
Missing:
42Ti 42Sc 42Ca

## Slide 32: Moving forward in nuclear decay
If there’s a compelling case, could consider driving HPGe to other facilities if we can’t make it at the CI
  This is the best I could do to tie into the future directions
If 6He–CRES works at CENPA, opens up possibilities at other labs
Stay tuned for 29P lifetime, 37K branch, and 10C branch
  Feel free to explicitly tell me how to get from to to for 29P and 37K!
In general, I’ll second Brenden’s call for an “updated Holstein”
  Preferably typo-free
  Open-source code for recoil and radiatively-corrected decays for all and in terms of , ,… or and
One day I’ll want a generator for -delayed proton decays
  That’s years away…just keep it in mind, please
at FRIB
and FRIB

## Slide 33: Final thoughts, collaborators and thanks
MARS ( SATURN) + Fast-tape transport + HPGe = precise + BR
TAMUTRAP: commissioned, just need radioactive ions…
p/He-LIG + LSTAR: (near?) future is bright!
B.M. Vargas-Calderon
M. Holloway D. Melconian
P.D. Shidling
V.E. Iacob
N. Morgan
A. Ozmetin
D. McClain
V. Kolhinen
G. Morgan
G. Berg
M. Brodeur
M. Couder
+ several REUs, a few ENISCAEN
interns, and TAMU undergrads

## Slide 34: Some tools we’re developing
(I left this to the end to spare the theorists if I ran out of time)
MWPC with pre-amps built in

## Slide 35: Some tools we’re developing
(I left this to the end to spare the theorists if I ran out of time)
MWPC with pre-amps built in
Pepper-pot to measure emittance

## Slide 36: Once He-LIG and LSTAR running
There will be room on the highbay for stations to utilize RIB from the He-LIG
Available space
NEPTUNE
General decay station
Charge-breeding/re-acceleration
Other…?

## Slide 37: SATURN concept
Separator and Analyzer at TAMU for Understanding Reactions of Nuclei
Features:
  3.5 Tm rigidity (not superconducting)
  Large acceptance
  Room for Phase II and instrumentation
  RIBs intensities 10x – 100x more than MARS
Configuration
  Phase 1: D-Wedge-D (initial design completed, but evolving – ask Oleg!)
  Phase 2: RF kicker – absorber/RF buncher – D spectrometer (not yet designed)

## Slide 38: Two slices of