## Slide 1
IMP
Observation of Electron Cyclotron Instabilities in SECRAL-II Ion Source
Lixuan Li1,2
J. B. Li1, J. W. Guo1, W. Lu1, J. D. Ma1, Y. C. Feng1, W. H. Zhang1, L. T. Sun1,2, D. Hitz1 and H. W. Zhao1,2
1Institute of Modern Physics, CAS, Lanzhou 730000, China
2School of Nuclear Science and Technology, University of Chinese Academy of Sciences, Beijing 100049,China
2020.9.30

## Slide 2
Research aim
Experimental setup
Results
Discussion
Outline

## Slide 3
Effects of other magnetic field parameters (mirror ratio、radial field ..) on electron cyclotron instabilities
Research aim
Electron cyclotron instabilities threshold
Threshold between stable and unstable regimes
Diagnostic Signals
O. Tarvainen, et al., Rev. Sci. Instrum. 87 (2016)
Research aim of this study

## Slide 4
Beam | Oxygen
Frequency (GHz) | 18
Power (W) | 1000
Extraction Voltage (kV) | 15
Biased Disk Voltage (-V) | 10~60
Injection Pressure (mbar) | 1~2x10-7
Source parameters
Experimental setup
Note: we do not optimize beam current at each data point, just tuning the gas injection and biased disk voltage to make ion source stable (long-term)
Typical microwave emission and beam current signals on SECRAL-II when electron cyclotron instability is triggered
The microwave detection setup can been found in J. Li's presentation (1122)

## Slide 5
Experimental results
Part 1- constant Binj , Bext and Br (1.1 T) while varying Bmin
0.38 | 0.41 | 0.44 | 0.47 | 0.50 | 0.52 | 0.54 | 0.55
Bmin increases
: stable
: unstable
stable
unstable
Note: beam normalization is carried out independently for each charge state and
open symbols correspond to instability regime

## Slide 6
Experimental results
Part 2- constant on axis gradient (~4.5 T/m) and Br (1.1 T) while varying Bmin
0.46 | 0.47 | 0.49 | 0.51 | 0.53 | 0.55 | 0.57
Bmin increases
stable
unstable

## Slide 7
3.56 | 3.78 | 3.94 | 4.42 | 4.83 | 5.29 | 5.70 | 6.08
Experimental results
Part 3- constant Bmin (0.50 T) and Br (1.1 T) while varying mirror ratio (i.e. Binj and Bext)
Mirror ratio (Bmax/Bmin) increases
unstable
stable

## Slide 8
0.55 |  |  |  |  |  |  |  | 
0.52 |  |  |  |  |  |  |  | 
0.50 |  |  |  |  |  |  |  | 
0.48 |  |  |  |  |  |  |  | 
Bmin increases
Experimental results
Summary: constant Bmin and Br while varying mirror ratio (i.e. Binj and Bext)
Mirror ratio (Bmax/Bmin) increases
3.31
6.25

## Slide 9
Experimental results
Part 4 - constant axial magnetic fields while varying Br
a. Low mirror ratio
b. Medial mirror ratio
c. High mirror ratio
Bmin：0.50 T
0.65 | 0.77 | 0.88 | 0.99 | 1.10 | 1.20 | 1.30 | 1.40 | 1.49 | 1.58 | 1.66 | 1.74 | 1.82
Binj : 1.78 T
Bext: 1.30 T
Binj : 2.41 T
Bext: 1.49 T
Binj : 3.04 T
Bext: 1.69 T
High mirror ratio
Medial mirror ratio
Low mirror ratio
Br increases

## Slide 10
0.55
0.52
0.50
0.48
Bmin increases
Experimental results
Summary: constant axial magnetic fields while varying Br
a. Low mirror ratio
0.65 | 0.77 | 0.88 | 0.99 | 1.10 | 1.20 | 1.30 | 1.40 | 1.49 | 1.58 | 1.66 | 1.74 | 1.82
b. Medial mirror ratio
0.65 | 0.77 | 0.88 | 0.99 | 1.10 | 1.20 | 1.30 | 1.40 | 1.49 | 1.58 | 1.66 | 1.74 | 1.82
Br increases
0.55
0.52
0.50
0.48
0.65 | 0.77 | 0.88 | 0.99 | 1.10 | 1.20 | 1.30 | 1.40 | 1.49 | 1.58 | 1.66 | 1.74 | 1.82
Bmin increases
Bmin increases
0.55
0.52
0.50
0.48
c. High mirror ratio

## Slide 11
Bmin is the primary magnetic field parameter affecting the appearance of cyclotron instability, but not the only one; mirror ratio and radial field also
affect the appearance of cyclotron instability;
Effects of magnetic configuration on electron cyclotron instability may provide a physical explanation for the semiempirical magnetic field scaling laws of ECRIS;
The trigger of cyclotron instability maybe a combined effect of many magnetic field parameters, further analyses are needed to reveal the inherent link between these parameters and plasma heating (<∇Becr >) as well as confinement.
Discussion

## Slide 12
Thanks for
your attention！